| DRAINAGE REPORT COMMENTS |  |  |
| --- | --- | --- |
|  | City Comment | Response |
|  | There’s no permit on file for the drainage pipe you mentioned. The city doesn’t have any as-built records or inspection history for this system. Please update the report accordingly. | JCE Response: The report has been updated to accurately reflect the storm system. |
|  | MICC 15.09 includes additional requirements for MR#5—please make sure to address those in the report as well. | JCE Response: The report has been updated to include the additional requirements for MR#5 in MICC 15.09. |
|  | Figure 5 shows 1.37 ac, not 1.42 ac. | JCE Response: The table has been updated to reflect the same area as Figure 5. |
|  | Can you specify which figure corresponds to this number? | JCE Response: The 24,626 square feet is from Figure 5 and corresponds to the parking lot area of 0.57 acres (24,626 square feet). |
|  | This information doesn’t appear to be included in Appendix B, and I also couldn’t find the design details for the Filterra system. Please confirm and update if available. | JCE Response: The water quality design flow from MGS Flood is already included in Appendix B. The design drawings for storm repair work has been included in Appendix C for reference for the design details of the Filterra system. |
|  | Can you specify which figure corresponds to this number? | JCE Response: This number corresponds to Figure 5 of the report. |
|  | Can you specify which figure corresponds to this number? | JCE Response: This number corresponds to Figure 8 of the report. |
|  | Can you provide an exhibit associated with the drainage pipes, showing their layout and relevant details? | JCE Response: The storm repair plans have been provided in Appendix C for reference for the associated drainage pipes, their layout, and relevant details. |
|  | Can you specify which figure corresponds to this number? | JCE Response: This number corresponds to Figure 9 – Water Quality Design Flow Areas. |
|  | Can you include a summary of the impervious and previous surface areas on the exhibit to match what's shown in Table 2? That way everything stays consistent. | JCE Response: A summary table has been added to Figure 5 to match what is shown in Table 2 to ensure consistency. |
|  | Can you show the square footages for pavement, roof, and landscaping areas within each sub-basin, so they correspond with the calculation tables? | JCE Response: We are not able to clearly annotate the exhibit, hence the detailed summary table provided. |