## MICC 19.08.010
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Development | Date: 7-17-2024
City File Number | TBD
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.010 General provisions for long and short subdivisions.
A. No person shall subdivide land, either through a long subdivision or a short subdivision, without first obtaining official approval as herein provided. | The applicant has submitted an application for preliminary short subdivision approval with the City of Mercer.
B. All applications for long subdivisions or short subdivisions are governed by the permit review procedures set out in MICC 19.15.040 except where superseded by language contained in this chapter. | The project has gone through the preapplication process (PRE23-032 & PRE23-068). Public Notices and Public Hearings are not required for the preliminary short subdivision.
C. Land contained in a prior short subdivision may not be further divided in any manner for a period of five years after the recording of the final plat with King County without the filing of a long subdivision plat; however when a short subdivision consists of less than four lots, an alteration to the short subdivision is permitted so long as no more than four lots are created through the total short subdivision process. | The land has not been subdivided in the last five years.
D. In their interpretation and application, the provisions of this chapter shall be held to be the minimum requirements adopted for the promotion of the public safety, health, and general welfare. This chapter is not intended to interfere with or abrogate or annul any easements, covenants, conditions, or restrictions created or imposed by plats or deeds or record or by agreements between parties, except where the provisions of this chapter are more restrictive, in which event the provisions of this chapter shall govern. | The title report has been reviewed and there are no known easements, covenants, conditions or restrictions that would be interfered with as a result of the short plat.
E. Preliminary long subdivision and short subdivision applications shall be processed simultaneously with all applications for rezones, variances, planned unit developments, and site plan approvals to the extent the procedural requirements of those actions allow simultaneous action. | No rezones, variances or planned unit developments are proposed.
F. Vacations of long subdivisions shall be governed by RCW 58.17.212. Alterations to long subdivisions shall be governed by RCW 58.17.215. All public hearings for both vacations and alterations of long subdivisions shall be before the hearing examiner, which shall make recommendations as to the vacation or alteration to the city council. | N/A. The project is a short subdivision.
G. Vacations and alterations of short subdivisions shall be reviewed by the code official, and shall comply with the requirements of this chapter for the creation of short subdivisions, unless those requirements are waived by the code official. Vacations and alterations of short subdivisions that involve a public dedication shall be governed by subsection F of this section. | N/A. The project is a new short subdivision, not an alteration.

## MICC 19.08.020
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Development | Date: 7-17-2024
City File Number | TBD
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.020 Application procedures and requirements for long and short subdivisions.
A. Applications for short subdivisions or alterations or vacation thereof shall be reviewed by the code official. Applications for long subdivisions or alteration or vacation thereof shall be reviewed by the hearing examiner, who shall make recommendations to the city council. | The short plat is under review with the City.
B. Applicants shall prepare a concept sketch of the proposal for the preapplication meeting required under MICC 19.15.060. | A conceptual site plan was prepared for the preapplication meeting (PRE23-068).
C. Preliminary application contents. In addition to any documents, information, or studies required under chapter 19.07 MICC, Environment, chapter 19.10 MICC, Trees, or any other chapter of this title, an application for a long subdivision or short subdivision shall include the documents set forth below and any other document or information deemed necessary by the code official upon notice to the applicant. All documents shall be in the form specified by the code official and shall contain such information as deemed necessary by the code official. The applicant shall submit the number of copies of each document specified by the code official. | The required documents were submitted to the City for review. Any additional or incomplete documents requested by the City will be provided.
1. Development application cover form. The development application cover form shall be signed by all current property owners listed on the plat certificate, and shall list the legal parcel numbers of all property involved in the project. | The development application form was submitted and signed by current property owners (Cooperville, LLC)
2. Long subdivision or short subdivision plans. The applicant shall provide copies of fully dimensioned plans of the project prepared by a Washington registered civil engineer or land surveyor, meeting the requirements of chapter 19.07 MICC, Environment, and containing any other information deemed necessary by the code official. The city engineer may waive the requirement that an engineer or surveyor prepare the plans for a short subdivision. The submitted plans shall identify the proposed building pad location for each proposed lot pursuant to MICC 19.09.090. | A survey prepared by a registered land surveyor was used to generate the fully dimensioned plans prepared by a registered civil engineer.
3. Plat certificate. Applicant shall provide a plat certificate issued by a qualified title insurance company not more than 30 days before filing of the application showing the ownership and title of all parties interested in the plat. If the plat certificate references any recorded documents (i.e., easements, dedications, covenants, etc.), copies of those documents shall also be provided. | The apppplication includes a plat certificate (Title report) no older than 30 days provided by Chicago Title.
4. Legal documents. Applicants shall provide copies of each of the following documents (if applicable):
a. Proposed restrictive covenants. | Restrictive Covenants are not proposed at this time.
b. Draft deeds to the city for any land to be dedicated. | No dedication is required at this time.
c. Proposed easements. | Graphic depiction of proposed easements are included on the plans prepared by our Civil engineer. Final easement agreements & exhibits will be prepared by our Surveyor.
5. Project narrative. Applicants shall provide a clear and concise written description and summary of the proposed project. | A project narrative was included in the initial submittal
6. Neighborhood detail map. Applicants shall provide copies of a map drawn at a scale specified by the code official showing the location of the subject site relative to the property boundaries of the surrounding parcels within approximately 1,000 feet, or approximately 2,500 feet for properties over four acres. The map shall identify the subject site with a darker perimeter line than that of the surrounding properties. | A neighborhood detail map was provided with the initial submittal.
7. Topography map. The applicant shall provide copies of a topographical map showing the existing land contours using vertical intervals of not more than two feet, completed and signed by a Washington licensed surveyor. For any existing buildings, the map shall show the finished floor elevations of each floor of the building. Critical slopes exceeding 30 percent must be labeled and delineated by a clearly visible hatching. | A topographic survey meeting these requirements and prepared by Cascade Land Surveying was included in the initial submittal.
8. Detailed grading plan. If the grade differential on the site of the proposed project will exceed 24 inches and/or if the amount of earth to be disturbed exceeds 50 cubic yards, the applicant shall provide copies of a detailed grading plan drawn by a Washington licensed engineer. | A grading plan meeting these requirements and prepared by a Ethos Civil was included in the initial submittal.
9. Street profiles. The applicant shall provide copies of a street profile showing the profiles and grades of each street, together with typical cross sections indicating: | Profile and section of the proposed access road is provided in the civil plans prepared by Ethos Civil.
a. Width of pavement; | The width of pavement is included on the street section.
b. Location and width of sidewalks, trails, bike lanes, ditches, swales, etc.; and | The section contains the necessary information.
c. Location of any utility mains. | There are no utility mains in the proposed access.
10. Geotechnical report. The applicant shall provide a geotechnical report meeting the requirements of chapter 19.07 MICC, Critical lands. This requirement may be waived by the city engineer under the criteria set out in MICC 19.07.010. | A geotechnical report pepared by Cobalt Geosciences was included in the initial submittal.
11. Utility plan. Conceptual plan showing the locations of existing and proposed utilities. | A utility plan is included in the civil plans.
D. Preliminary application procedure.
1. Findings of fact. All preliminary approvals or denials of long subdivisions or short subdivisions shall be accompanied by written findings of fact demonstrating that:
a. The project does or does not make appropriate provisions for the public health, safety, and general welfare and for such open spaces, drainage ways, streets or roads, alleys, other public ways, transit stops, potable water supplies, sanitary wastes, parks and recreation, playgrounds, schools and schoolgrounds and all other relevant facts, including sidewalks and other planning features that assure safe walking conditions for students who only walk to and from school; | The proposal makes appropriate provisions for public health, safety and welfare by following the development and zoning regulations per MICC and being reviewed by professional engineers (civil, geotechnical, structural). Any work within the public ways will be restored to existing conditions or better. The proposal will provide sewer, water, and storm conveyance to the new lots. The nearest school is approximately 3/4 miles from the site - no anticpated impacts to public health and safety.
b. The public use and interest will or will not be served by approval of the project; and | The public’s use and interest will be served by providing housing stock in the City of Mercer Island in a manner that is consistent with applicable development regulations, including the zoning requirements for such restrictions as lot size and access.
c. The project does or does not conform to applicable zoning and land use regulations. | The project conforms to the applicable zoning and land use regulations by meeting the allowable lot size, access, setbacks, and by maintaining the existing use as single-family residential.
2. Short subdivisions. The code official shall grant preliminary approval for a short subdivision if the application is in proper form and the project complies with the design standards set out in MICC 19.08.030, the comprehensive plan, and other applicable development standards. | The short subdivision is under review by the City and will not be approved by the code official until review is complete.
3. Long subdivisions. | N/A
a. At an open record hearing, the hearing examiner shall review the proposed long subdivision for its conformance with the requirements of MICC 19.08.030, the comprehensive plan, and other applicable development standards. | N/A
b. The hearing examiner shall make written findings of fact and conclusions. | N/A
4. Conditions for preliminary approval. As a condition of preliminary approval of a project, the hearing examiner in the case of a long subdivision, or the code official in the case of a short subdivision, may require the installation of plat improvements as provided in MICC 19.08.040, which shall be conditions precedent to final approval of the subdivision. | Conditions of approval will be followed once issued.
5. Construction limitations.
a. No construction, tree removal, grading, installation of utilities on land within a proposed long or short subdivision shall be allowed prior to preliminary approval of the long or short subdivision and until the applicant has secured the permits required under the Mercer Island City Code. Following preliminary approval, tree removal, grading, and installation of utilities shall be the minimum necessary to allow for final plat approval of the long or short subdivision. | The site currently has a single family residence which is being remodeled under Building Permit 2405-053. No other work is currently being performed related to the short plat. Once the short plat is approved only the work required for final approval will be performed.
b. An existing lot, created through the final plat approval of a long or short subdivision, shall be a condition precedent for determination of complete application for a building permit to construct a new single-family dwelling. | Noted.

## MICC 19.08.030
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Development | Date: 7-17-2024
City File Number | TBD
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.030 - Design standards.
A. Compliance with other laws and regulations. The proposed subdivision shall comply with all other chapters of this title; the Shoreline Management Act; and other applicable city, state, and federal legislation. | The other titles of this chapter have been reviewed and the proposal is in compliance with the other applicable chapters to the best of our knowledge.
B. Public improvements.
1. The subdivision shall be reconciled as far as possible with current official plans for acquisition and development of arterial or other public streets, trails, public buildings, utilities, parks, playgrounds, and other public improvements. | To the best of our knowledge, there are no known plans for improvement to Butterworth Rd. or any other surrounding public spaces.
2. If the preliminary plat includes a dedication of a public park with an area of less than two acres and the donor has designated that the park be named in honor of a deceased individual of good character, the city shall adopt the designated name. | N/A
C. Control of hazards.
1. Where the project may adversely impact the health, safety, and welfare of, or inflict expense or damage upon, residents or property owners within or adjoining the project, other members of the public, the state, the city, or other municipal corporations due to flooding, drainage problems, critical slopes, unstable soils, traffic access, public safety problems, or other causes, the city council in the case of a long subdivision, or the code official in the case of a short subdivision, shall require the applicant to adequately control such hazards or give adequate security for damages that may result from the project, or both. | A TESC plan and drainage/utility plan have been prepared to avoid such issues. It is understood that the City may require a security bond.
2. If there are soils or drainage problems, the city engineer may require that a Washington registered civil engineer perform a geotechnical investigation of each lot in the project. The report shall recommend the corrective action likely to prevent damage to the areas where such soils or drainage problems exist. Storm water shall be managed in accordance with chapter 15.09 MICC and shall not increase likely damage to downstream or upstream facilities or properties. | A geotechnical report is included in the submittal. The drainage plan included in the civil plan set, shows management of the stormwater per 15.09 MICC.
3. Alternative tightline storm drains to Lake Washington shall not cause added impact to the properties, and the applicant shall submit supportive calculations for storm drainage detention. | The project is exempt from flow control (detention) because it discharges directly to Lake Washington.
D. Streets, roads and rights-of-way.
1. The width and location of rights-of-way for major, secondary, and collector arterial streets shall be as set forth in the comprehensive arterial plan. | N/A, the site is accessed via a local street.
2. Public rights-of-way shall comply with the requirements set out in MICC 19.09.030. | N/A, public ROW is existing.
3. Private access roads shall meet the criteria set out in MICC 19.09.040. | The proposed private access road is serving 2 lots and is 20' wide. The slope does not exceed 20%. The access will be paved with scored concrete.
4. Streets of the proposed subdivision shall connect with existing improved public streets, or with existing improved private access roads subject to easements of way in favor of the land to be subdivided. | The proposed private access connects to the existing pavement of Butterworth Rd.
E. Residential lots.
1. The area, width, and depth of each residential lot shall conform to the requirements for the zone in which the lot is located. Any lot which is located in two or more zones shall conform to the zoning requirements determined by the criteria set out in MICC 19.01.040(G)(2). | All proposed lots are at least 12,000 SF, at least 60' in width and at least 80' in depth.
2. Each side line of a lot shall be approximately perpendicular or radial to the center line of the street on which the lot fronts. | The proposed lot lines are approximately perpendicular to Butterworth Rd or the private access street.
3. The proposed subdivision shall identify the location of building pads for each proposed lot per MICC 19.09.090. No cross-section dimension of a designated building pad shall be less than 20 feet in width. | The proposed lots already have existing building pads. Refer to Site Plan A1.1.
4. The proposed subdivision shall incorporate preferred development practices pursuant to MICC 19.09.100 where feasible. | A shared access is proposed for Lots 1 and 2. However, given existing tree locations and required setbacks from easements, topography and property lines, a shared access between all 3 lots is not feasible without additional tree removal. Short plat improvements has avoided critical areas to the extent feasible. Adverse impacts will be mitigated.
5. The proposed subdivision shall be designed to comply with the provisions of chapter 19.10 MICC. | A tree protection plan are included in the submittal. Exceptional trees will be retained to the maximum extent feasible. Justification for removal of exceptional trees are provided on the Exceptional Tree Plan.
F. Design standards for special conditions.
1. Subdivisions abutting an arterial street as shown on the comprehensive arterial plan shall be oriented to require the rear or side portion of the lots to abut the arterial and provide for internal access streets. | The site does not abut an arterial street.
2. Where critical areas meeting the criteria set out in chapter 19.07 MICC are present within the subdivision, the code official or city council may:
a. Require that certain portions of the long subdivision or short subdivision remain undeveloped with such restrictions shown on the official documents; | Understood.
b. Increase the usual building set-back requirements; and/or | Understood.
c. Require appropriate building techniques to reduce the impact of site development. | Understood.
G. Optional standards for development. In situations where designing a subdivision to the requirements of subsections A through F of this section would substantially hinder the permanent retention of trees; interfere with the protection of critical areas; preclude the provision of parks, playgrounds, or other noncommercial recreational areas for neighborhood use and enjoyment; or negatively impact the physiographic features and/or existing ground cover of the subject area, the applicant may request that the project be evaluated under the following standards: | N/A
1. The use of the land in the long subdivision or short subdivision shall be one permitted in the zone in which the long subdivision or short subdivision is located.
2. The number of lots shall not exceed the number that would otherwise be permitted within the area being subdivided, excluding the shorelands part of any such lot and any part of such lot that is located in a street.
3. An area suitable for a private or public open space tract shall be set aside for such use.
4. The lots may be of different areas, but the minimum lot area, minimum lot width, and minimum lot depth shall each be at least 75 percent of that otherwise required in the zone in which the long subdivision or short subdivision is located. In no case shall the lot area be less than 75 percent of that otherwise required in the zone. Lot size averaging must be incorporated if lot width or depth requirements are 75 percent of the minimum that would otherwise be required for the zone without utilizing the optional development standards. Any designated open space or recreational tract shall not be considered a lot.
5. The ownership and use of any designated open space or recreational tract, if private, shall be shared by all property owners within the long subdivision or short subdivision. In addition, a right of entry shall be conveyed to the public to be exercised at the sole option of the city council if such area shall cease to be an open space or recreational tract.
6. The open space or recreational tract must remain in its approved configuration and be maintained in accordance with approved plans. Any deviation from the foregoing conditions must receive expressed approval from the hearing examiner.

## MICC 19.08.040
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Development | Date: 7-17-2024
City File Number | TBD
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.040 - Plat improvements.
A. Streets, utilities and storm drainage. A subdivision shall include provisions for streets, water, sanitary sewers, storm drainage, utilities and any easements or facilities necessary to provide these services. All utilities shall be placed underground unless waived by the city engineer. Detailed plans for these provisions shall not be required until after the approval of the preliminary plat and shall be a condition precedent to the official approval of the subdivision. | Civil plans detailing the proposed access, utilities and storm drainage are included in the submittal.
B. Performance bond. The owner(s) of a project shall deposit with the city a performance bond or funds for a set-aside account in an amount equal to 150 percent of the cost of the required improvements, as established by the city engineer. Such security shall list the exact work that shall be performed by the owner(s) and shall specify that all of the deferred improvements shall be completed within the time specified by the city engineer, and if no time is so specified, then not later than one year. The city may also require a bond or set-aside account securing the successful operation of improvements or survival of required landscaping for up to two years after final approval. | The applicant will provide a performance bond as required.
C. Site supervision. Any and all services performed by city employees in field inspection of construction of plat improvements, clearing, and/or grading processes, shall be charged to the developer at 100 percent of direct salary cost, plus 35 percent of such cost for overhead. Any outside consultants retained by the city to evaluate any phase of plat design or construction shall be charged at actual cost, plus any additional administrative costs. Billings tendered to the owner(s) shall be payable within 30 days. | Understood.
D. Construction seasons. Either the city engineer or the building official may:
1. Limit the construction project to a specific seasonal time period. | Understood.
2. Prevent land clearing, grading, filling, and foundation work on lots with critical slopes or geologic hazard areas between October 1 and April 1, as set out in MICC 19.07.160; and | Understood.
3. Require short-term soil and drainage control measures such as, but not limited to: hemping, seeding, gravel or light asphalt base roads, temporary siltation and detention ponds. | Understood.

## MICC 19.08.050
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Development | Date: 7-17-2024
City File Number | TBD
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.050 - Final plats.
A. Required signatures.
1. Before the original or extended deadline for recording the final plat as set forth in MICC 19.15.150, the applicant may file with the city the final plat of the proposed long subdivision or short subdivision in the form prescribed by subsection C of this section. | Understood.
2. The city engineer shall check the final plat and shall sign it when satisfied that it meets the requirements of subsection C of this section, adequately addresses sewage disposal and water supply, and complies with all conditions placed on the preliminary plat approval. | Understood.
3. After the final plat has been signed by the city engineer, it shall go to the code official for final signature. | Understood.
4. Each long subdivision plat submitted for final signature shall be accompanied by the recommendation for approval or disapproval of the city engineer as to the requirements of subsection (A)(2) of this section. The city engineer's signature on the final plat shall constitute such recommendation. | Understood.
5. Final plats shall be approved, disapproved, or returned to the applicant within 30 days from the date of filing, unless the applicant consents to an extension of such time period. | Understood.
B. Recording of the final plat.
1. The applicant shall deliver the signed plat to King County for recording. | Understood.
2. The recording of the final plat with the county department of records shall constitute the official approval of the subdivision, and lots may not be legally sold until the plat has received its recording number. | Understood.
3. After the final plat has been recorded, the original plat shall be returned to the city engineer and filed as the property of the city. | Understood.
C. Contents of the final plat. All final plats submitted to the city shall meet the requirements set out in RCW Chapter 58.09, WAC Chapter 332-130, and those requirements set out below.
Final plat documents submitted to the city shall contain the information set out below. The final plat documents shall be drawn on an 18-inch by 24-inch sheet size, allowing one-half inch for borders. The index sheet must show the entire subdivision, with street and highway names and block numbers. | Understood.
1. Identification and description. | The items listed below will be provided on the final document.
a. Name of the long subdivision or short subdivision.
b. A statement that the long subdivision or short subdivision has been made with the free consent and in accordance with the desires of the owner or owners.
c. Location by section, township and range, or by other legal description.
d. The name and seal of the registered engineer or the registered land surveyor.
e. Scale shown graphically, datum and north point. The scale of the final plat shall be such that all distances and bearings can be clearly and legibly shown thereon in their proper proportions. Where there is a difference between the legal and actual field distances and bearings, both distances and bearings shall be shown with the field distances and bearings shown in brackets.
f. A legal description of property platted which shall be the same as that recorded in preceding transfer of said property or that portion of said transfer covered by plat. Should this legal description be cumbersome and not technically correct, a true and exact legal description shall be shown upon the plat, together with original legal description. The correct legal description shall follow the words: "The intent of the above legal description is to embrace all the following described property."
g. A vicinity map showing the location of the plat relative to the surrounding area.
2. Delineation. | The items listed below will be delineated on the final document.
a. Boundary plat, based on an accurate traverse, with angular and lineal dimensions.
b. Exact location, width, and name of all streets within and adjoining the plat, and the exact location and widths of all roadways, driveways, and trail easements. The name of a street shall not duplicate that of any existing street in the city, unless the platted street be a new section or continuation of the existing street.
c. True courses and distances to the nearest established street lines or official monuments which shall accurately describe the location of the plat.
d. Municipal, township, county or section lines accurately tied to the lines of the subdivision by courses and distances.
e. Radii, internal angles, points of curvature, tangent bearings and lengths of all arcs.
f. All easements for rights-of-way provided for public services or utilities. Utility easements shall be designated as public or private.
g. All lot and block numbers and lines, with accurate dimensions in feet and hundredths. Blocks in numbered additions to subdivisions bearing the same name may be numbered or lettered consecutively through the several additions. The square footage for each lot less vehicular easements shall be shown.
h. Accurate location of all monuments, which shall be concrete commercial monuments four inches by four inches at top, six inches by six inches at bottom, and 16 inches long. One such monument shall be placed at each street intersection and at locations to complete a continuous line of sight and at such other locations as are required by the engineer.
i. All plat meander lines or reference lines along bodies of water shall be established above the ordinary high water line of such water.
j. Accurate outlines and legal description of any areas to be dedicated or reserved for public use, with the purpose indicated thereon and in the dedication; and of any area to be reserved by deed covenant for common uses of all property owners.
k.
Critical areas as identified under chapter 19.07 MICC.
l. Corner pins made of rebar with caps.
m. Designated building pads pursuant to MICC 19.09.090.
3. Other marginal data on final plat. | The applicable items below will be included on the final document.
a. If the plat is subject to dedications to the city or any other party, the dedications shall be shown and shall be duly acknowledged. The plat shall also contain a waiver of all claims for damages against the city which may be occasioned to the adjacent land by the established construction, drainage and maintenance of any streets dedicated to the city.
b. A copy of the protective covenants, if any.
c. Certification by a Washington-registered civil engineer or land surveyor to the effect that the plat represents a survey made by that person and that the monuments shown thereon exist as located and that all dimensional and geodetic details are correct.
d. Proper forms for the approvals of the city engineer and the mayor, on behalf of the city council, in the case of a long subdivision; or the city engineer and the code official in the case of short subdivisions, with space for signatures.
e. Certificates by the county assessor showing that the taxes and assessments on the land to be submitted have been paid in accordance with law, including a deposit for the taxes for the following year.
f. Approval by the county department of records.
g. Conditions of approval created at preliminary subdivision approval that affect individual lots or tracts.
4. Other documents. When filed with the city, the final plat shall be accompanied by the following additional documents.
a. "As-built" drawings. A plan, profile and section drawing, prepared by a Washington licensed engineer showing all streets and other access ways, water, sewer, storm water detention facilities, retaining walls, and rockeries within the subdivision at a scale of one inch equal to 40 feet or less on a standard sheet 24 inches wide and 36 inches long. | Understood.
b. Plat certificate. A plat certificate issued by a qualified title insurance company not more than 30 days before filing of the final plat showing the ownership and title of all parties interested in the plat. If the plat certificate references any recorded documents (i.e., easements, dedications, covenants, etc.) copies of those documents shall also be provided. | Understood.

## MICC 19.08.060
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Premium Homes of Mercer Island Short Subdivision | Date: 1-31-23
City File Number | SUB22-006
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application. The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.060 - Condominium conversions. | N/A Condos are not proposed.
In addition to the requirements set out in RCW Chapter 64.34, multiple-family dwellings being converted into condominiums are subject to the following conditions.
A. Preconversion inspection.
1. All multiple-family dwellings being converted to a condominium shall be inspected by the building official and the fire marshal prior to dwelling units being offering for sale.
2. The inspection report shall list any violations of the development code or other applicable governmental regulations.
3. The inspection shall be made within 45 days of the declarant's written request therefor and the inspection report shall be issued within 14 days of said inspection being made.
4. Such inspection shall not be required for any building for which a final certificate of occupancy has been issued by the city within the preceding 24 months.
5. The fee for making the preconversion inspection shall be same as the fee that would be charged for making such inspection for a purpose other than a condominium conversion.
B. Disclosure of inspection report. The public offering statement required by RCW Chapter 64.34 for a condominium conversion shall contain a copy of the inspection report prepared under subsection A of this section.
C. Reinspection.
1. Prior to the conveyance of any dwelling unit within a conversion condominium, other than a conveyance to a declarant or affiliate of a declarant, all violations disclosed in the inspection report shall be repaired to the city's satisfaction.
2. The city shall reinspect the building within seven days of the declarant's written request for reinspection, and if the repairs have been made to the city's satisfaction, the city shall issue a certification stating that such repairs have been made.
D. Warranty on repairs. The declarant shall warranty all repairs required by the city against defects due to workmanship or materials for a period of one year following the completion of such repairs. The declarant shall also deposit with the city funds equaling ten percent of the actual cost of making such repairs, to be used to satisfy claims made under such warranty. Following the expiration of the one-year warranty period, any funds remaining in such account shall be returned to the declarant.
E. Relocation assistance.
1. Relocation assistance not to exceed $500.00 per dwelling unit shall be paid to tenants and subtenants who elect not to purchase a dwelling unit and who are in lawful occupancy for residential purposes of a dwelling unit and whose monthly household income from all sources, on the date of the notice required under RCW 64.34.440(1), was less than an amount equal to 80 percent of:
a. The monthly median income for comparably sized households in the standard metropolitan statistical area, as defined and established by the United States Department of Housing and Urban Development, in which the condominium is located; or
b. If the condominium is not within a standard metropolitan statistical area, the monthly median income for comparably sized households in the state of Washington, as defined and determined by said department.
2. The household size of a unit shall be based on the number of persons actually in lawful occupancy of the unit. The tenant or subtenant actually in lawful occupancy of the unit shall be entitled to the relocation assistance.
3. Relocation assistance shall be paid on or before the date the tenant or subtenant vacates and shall be in addition to any damage deposit or other compensation or refund to which the tenant is otherwise entitled. Unpaid rent or other amounts owed by the tenant or subtenant to the landlord may be offset against the relocation assistance.

## MICC 19.08.070
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.08 MICC Subdivisions
Project Name: | Butterworth Short Plat | Date: 7/10/2024
City File Number | SUB22-006
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application.The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.08 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.08 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
MICC 19.08.070 - Lot line revisions. | N/A a lot line revision is not proposed.
A. Purpose. The purpose of this section is to provide procedures and criteria for the review and approval of revisions to lot lines of legal lots or tracts.
B. Requirements for a complete application.
1. A map at a scale of not less than one inch equal to 100 feet which depicts the existing and proposed property configuration, including all lot line dimensions.
2. Legal descriptions of the existing and proposed property configurations, prepared by a licensed professional land surveyor.
3. A completed application form.
4. Project narrative. Applicants shall provide a clear and concise written description and summary of the proposed project.
5. Any other information required pursuant to chapter 19.15 MICC.
C. Approval criteria. The code official shall approve an application for a lot line revision if it is determined that:
1. No additional lot, tract, parcel, site or division will be created by the proposed revision;
2. No lot is created or modified which contains insufficient area and dimensions to meet the minimum requirements of the zone in which the affected lots are situated;
3. No lot is created or modified which does not have adequate drainage, water supply and sanitary sewage disposal, and access for vehicles, utilities and fire protection, and no existing easement in favor of the public is rendered impractical to serve its purpose;
4. No lot line revision shall reduce the overall area in a plat or short plat devoted to open space;
5. No lot line shall result in the creation of a lot or structure that is nonconforming with the provisions of this title;
6. The lot line revision shall be consistent with any restrictions or conditions of approval for a recorded plat or short plat; and
7. The lot line revision and the lots resulting from the lot line revision are consistent with the applicable provisions of this title.
D. Requirements for recording documents.
1. A title insurance certificate updated not more than 30 days prior to recording of the revision, which includes all parcels within the revision, must be submitted to the code official with the final recording documents.
2. All persons having an ownership interest within the lot line revision shall sign the lot line revision documents that will be recorded in the presence of a notary public.
3. Lot line revision documents that will be recorded shall be in a form prescribed by the code official and be reviewed and approved by the code official prior to recording with the King County recorder's office. Lot line revision approvals shall expire if the lot line revision documents and real estate conveyance documents transferring ownership of the adjusted land area are not recorded and a copy submitted to the city within one year from the date of approval.
4. Lot line revision documents, including a record-of-survey document, must be prepared by a land surveyor in accordance with WAC Chapter 332-130 and RCW Chapter 58.09. The document must contain a land surveyor's certificate and a recording certificate.
5. The lot line revision documents shall contain the following approval blocks:
a. The King County Department of Assessments;
b. The city of Mercer Island city engineer; and
c. The city of Mercer Island code official.