## Parking Requirements
Mercer Island Municipal Code Compliance Matrix
Project Name: | Barnabie Point Project Conditional Use Permit | Date
City File Number | CUP24-001 | 2024-09-22
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
19.04.040 - Parking requirements.
A. The following parking requirements apply to all uses in the C-O and B zones and to all nonresidential uses in the PBZ zone. | Noted
B. General requirements.
1. Surfacing and grading. All off-street parking areas shall be graded and surfaced to a standard comparable to the street which serves the parking area. The parking area shall be developed and completed to the required standards before an occupancy permit for the building to be served is issued.
2. Traffic control devices. All traffic control devices such as parking strips designating car stalls, directional arrows or signs, bull rails, curbs and other structures shall be installed and completed as shown on the approved plans. Hard surfaced parking area shall use paint or similar devices to delineate parking stalls and directional arrows.
3. Design. Parking lot design should conform to the diagrams set out in appendix A of this development code, unless alternative design standards are approved by the design commission and city engineer.
4. Location. Off-street parking shall be located on the same lot or on an adjoining lot or lots to the building to be served; except, that off-street parking may be located in an area beginning within 500 feet of the front entrance of the building to be served; provided, there are no intersecting streets between the parking area and building to be served. | Off-street parking located on an adjoining lot.
5. Ingress and egress. The city engineer shall have the authority to fix the location and width of vehicular ingress or egress to and from property, and to alter existing ingress and egress as may be required to control street traffic in the interest of public safety and general welfare.
6. Handicapped standards. Off-street parking shall meet the relevant state design standards for the physically disabled.
7. Compact vehicles. Up to 50 percent of the required off-street parking spaces may be designed for accommodating compact vehicles. Such parking spaces must be clearly designated as compact stalls. The design commission may increase the percentage of compact stalls permitted if the applicant can demonstrate that no adverse impacts will occur.
8. Loading space. An off-street loading space, having access to a public street, shall be required adjacent to each building, hereafter erected or enlarged. Such loading space shall be of adequate size to accommodate the maximum number and size of vehicles simultaneously loaded or unloaded, in connection with the business or businesses conducted in such building. No part of the truck or van using the loading space may project into the public right-of-way.
9. Variances. Notwithstanding any of the minimum parking requirements set out in subsection C of this section, the code official may grant variances from the minimum parking requirements with the approval of the city engineer and the design commission for projects reviewable by the design commission.
C. Minimum parking requirements for specific uses. A use which is similar to any of the below-referenced uses shall adhere to the minimum parking requirements for the referenced use or uses. The design commission shall determine the minimum parking requirements for a use in a commercial zone that is not referenced in this section. | Noted
1. Bars and restaurants shall provide one parking space for every 100 square feet of gross floor area of the building, exclusive of kitchen and storage areas.
2. Civic and social organizations, public facilities, and theaters with fixed seats shall provide one parking space for each four seats. Facilities without fixed seats shall provide one parking space for every 75 square feet of gross floor area of the building. | The multipurpose room, when not in use as a music classroom by the school, would require 40 parking spaces.
4. Financial and insurance services, healthcare services, office uses and professional, scientific, and technical services shall provide one parking space for every 300 square feet of gross floor area of the building. | The gross area of office use will require 33 parking spaces for 10,000 sf.
11. Places of worship shall provide one parking space for every five seats in the chapel, nave, sanctuary, or similar worship area.
12. Recreational areas shall provide one parking space for every 100 square feet of gross floor area of the building.
16. Public and private schools shall provide at a minimum two off-street parking spaces per classroom unless additional parking spaces are deemed necessary through design commission or administrative SEPA review and shall provide adequate off-street loading and unloading facilities as determined by the city engineer. | Parking standards for private schools are not consistent between zones. Per this standard, 24 spaces would be required for 12 classrooms. Per standards for residential lots, 12 spaces would be required for 12 classrooms.
D. Mixed use parking. In the case of mixed uses, the total requirements for off-street parking facilities shall be the sum of the requirements for the various uses computed separately. Off-street parking facilities for one use shall not be considered as providing required parking facilities for any other use, except as hereinafter specified for cooperative use. | Parking for the multipurpose room, the existing place of worship and the office/school uses will occur nonsimultaneously. Code-required mixed-use parking is computed as follows: 1. Typical school/work day: 33 (office) +24 (school) spaces = 59, leaving a surplus of 41 spaces for a small handful of regular staff at the existing synagogue. 2. Multipurpose room event: 40 spaces, leaving a surplus of 60 spaces for a small handful of regular staff at the existing synagogue. 3. Religious services / religious school: 82 spaces, leaving a surplus of 18 spaces.
E. Cooperative parking. Cooperative parking between two or more adjoining property owners is allowed; provided, the code official, with approval from the design commission and city engineer, may reduce the total required spaces by 25 percent of the total combined required spaces when the applicant has demonstrated that no adverse impact will occur due to the reduced number of stalls. | Cooperative parking is proposed between the two adjoining properties, without a reduction in the required number of stalls - but recognizing uses that occur nonsimultaneously. The school and rental spaces will have lease agreements limiting hours of general use to those which do not conflict with hours of worship. Parking will be limited by lease agreement to maintain code requirements. Per Comp Plan 4.II. Transportation Goals and Policies, Goal 1 1.2: Encourage businesses and residential areas to explore opportunities for shared parking and other parking management strategies.
F. Parking lot dimension. All parking areas shall conform to the design standards set out in appendix A of this development code unless alternative design standards are approved by the design commission and city engineer.

## MICC 19.02.060
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.02 MICC Residential
Project Name: | Barnabie Point Project Conditional Use Permit | Date
City File Number | CUP24-001 | 2024-08-09
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application.The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.02 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.02 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
19.02.060 - Lot coverage—Regulated improvements.
A. Applicability. This section shall only apply to regulated improvements (for example, schools or religious buildings) in the residential zoning designations of R-8.4, R-9.6, R-12, and R-15. | Noted.
B. Maximum impervious surface limits for lots. The total percentage of a lot that can be covered by impervious surfaces (including buildings) is limited by the slope of the lot for all single-family zones [as follows:] | Existing development is noncompliant with current limits but legally conforming per 19.01.050.A.7. Added impervious surface will be offset by removed impervious surface so that we retain existing lot coverage and impervious surface areas.
Lot Slope/Lot Coverage (limit for impervious surfaces)
Lot Slope Less than 15%. Lot Coverage 40%*
Lot Slope 15% to less than 30%. Lot Coverage 35%
Lot Slope 30% to 50%. Lot Coverage 30%
Lot Slope Greater than 50% slope. Lot Coverage 20%
*Public and private schools, religious institutions, private clubs and public facilities (excluding public parks or designated open space) in single-family zones with slopes of less than 15 percent may be covered by the percentage of legally existing impervious surface that existed on May 1, 2006, as determined by the code official.
C. Exemptions. The following improvements will be exempt from the calculation of the maximum impervious surface limits set forth in subsection B of this section:
1. Decks/platforms. Decks and platforms constructed with gaps measuring one-eighth inch or greater between the boards which provide free drainage between the boards as determined by the code official shall be exempt from the calculation of maximum impervious surface limits so long as the surface below the deck or platform is not impervious.
2. Pavers. Pavers installed with a slope of five percent or less and covering no more than ten percent of the total lot area will be calculated as only 75 percent impervious. Provided, however, that all pavers placed in driveways, private streets, access easements, parking areas and critical areas shall be considered 100 percent impervious.
3. Pedestrian-oriented walkways. Uncovered pedestrian walkways constructed with gravel or pavers not to exceed 60 inches in width shall be exempt from the maximum impervious surface limits.
4. Public improvements. Open storm water retention/detention facilities, public rights-of-way and public pedestrian trails shall be exempt from the maximum impervious surface limits.
5. Rockeries/retaining walls. Rockeries and retaining walls shall be exempt from the maximum impervious surface limits.
6. Residences for religious leaders located on properties used by places of worship.
a. A structure primarily used as a residence for a religious leader provided by its congregation and located on the same lot or lots as the improvements for a church, synagogue, mosque, or other place of worship shall be exempt from the maximum impervious surface limits, subject to the limitations under subsection (C)(6)(b) of this section. All impervious surface areas directly and commonly associated with the residence such as, but not limited to, the footprint of the residence, an attached or detached garage, a patio and/or deck not otherwise exempted by subsections (C)(1) and (3) of this section, and a driveway not otherwise used for general access to the place of worship, shall be exempt.
b. A residence and its associated impervious improvements, as described above, may only be exempted if 4,999 square feet or less or up to 20 percent of lot area, whichever is less. For these purposes, lot area means the lot or lots on which the place of worship is located.
c. Impervious surface lot coverage exceeding 60 percent shall not be allowed whether by variance to this section or by this exemption.
D. Variance. Regulated improvements in the R-8.4, R-9.6, R-12, and R-15 zoning designations may request a variance to increase impervious surface pursuant to MICC 19.15.230(F).

## MICC 19.02.020
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.02 MICC Residential
Project Name: | Barnabie Point Project Conditional Use Permit | Date
City File Number | CUP24-001 | 2024-08-09
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application.The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.02 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.02 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
19.02.020 - Development standards.
A.Minimum net lot area.
R-9.6: The net lot area shall be at least 9,600 square feet. Lot width shall be at least 75 feet and lot depth shall be at least 80 feet. | No change to existing lot area.
C.Yard requirements. | No structures proposed within required yards
a. Front yard depth: 20 feet or more.
b. Rear yard depth: 25 feet or more.
c. Side yards shall be provided as follows:
i.Total width.
(a) For lots with a lot width of 90 feet or less, the sum of the side yards' width shall be at least 15 feet.
(b) For lots with a lot width of more than 90 feet, the sum of the side yards' width shall be a width that is equal to at least 17 percent of the lot width.
ii. Minimum side yard width. The minimum side yard width is five feet or 33 percent of the aggregate side yard total width, whichever is greater.
iii. Variable side yard depth requirement. For lots with an area of 6,000 square feet or more, the minimum side yard depth abutting an interior lot line shall be the greater of the minimum side yard depth required under subsection (C)(1)(c)(ii) of this section, or as follows:
2. Yard determination
a. Front yard
i. Front yard — General. For lots that are not corner lots or waterfront lots, the front yard shall extend the full width of the lot and is determined using the following sequential approach, in descending order of preference, until a front yard is established:
(a) The yard abutting an improved street from which the lot gains primary access.
(b) The yard abutting the primary entrance to a building.
(c) The orientation of buildings on the surrounding lots and the means of access to the lot.
ii. Front yard — Corner lots. On corner lots the front yard shall be measured from the narrowest dimension of the lot abutting a street. The yard adjacent to the widest dimension of the lot abutting a street shall be a side yard; provided:
(a) If a setback equivalent to or greater than required for a front yard is provided along the property lines abutting both streets, then only one of the remaining setbacks must be a rear yard.
iii. Front yard — Waterfront lots. On a waterfront lot, regardless of the location of access to the lot, the front yard may be measured from the property line opposite and generally parallel to the ordinary high water line.
iv. This section shall apply except as provided for in MICC 19.08.030(F)(1).
b. Rear yard. Except as allowed in subsections (C)(2)(a)(ii) and (iii) of this section, the rear yard is the yard opposite the front yard. The rear yard shall extend across the full width of the rear of the lot, and shall be measured between the rear line of the lot and the nearest point of the main building including an enclosed or covered porch. If this definition does not establish a rear yard setback for irregularly shaped lots, the code official shall establish the rear yard based on the following method: The rear yard shall be measured from a line or lines drawn from side lot line(s) to side lot line(s), at least ten feet in length, parallel to and at a maximum distance from the front lot line.
c. Side yard. Any yards not designated as a front or rear yard shall be defined as a side yard.
3. Intrusions into required yards.
a. Minor building elements.
i. Except as provided in subsection (C)(3)(a)(ii) of this section, porches, chimney(s) and fireplace extensions, window wells, and unroofed, unenclosed outside stairways and decks shall not project more than three feet into any required yard. Eaves shall not protrude more than 18 inches into any required yard.
ii. No penetration shall be allowed into the minimum side yard setback abutting an interior lot line except where an existing flat-roofed house has been built to within 18 inches of the interior side yard setback line and the roof is changed to a pitched roof with a pitch of 2:12 or steeper, eaves may penetrate up to 18 inches into the side yard setback.
b. Hardscape and driveways. Hardscape and driveways not more than 30 inches above existing grade or finished grade, whichever is lower, may be located in any required yard; provided, that driveways may exceed the 30-inch limit when a permit applicant demonstrates the proposed height is the minimum feasible to meet the standards in MICC 19.09.040. | Driveways and hardscape proposed within required yards shall be no more than 30 inches above existing or finished grade.
c. Fences, retaining walls and rockeries. Fences, retaining walls and rockeries are allowed in required yards as provided in MICC 19.02.050. | Fences will comply with MICC 19.02.050.
d. Garages and other accessory buildings. Garages and other accessory buildings are not allowed in required yards, except as provided in MICC 19.02.040.
e. Heat pumps, air compressors, air conditioning units, and other similar mechanical equipment. Heat pumps, air compressors, air conditioning units, and other similar mechanical equipment may be located within any required yard provided they will not exceed the maximum permissible noise levels set forth in WAC 173-60-040, which is hereby incorporated as though fully set forth herein. Any such equipment shall not be located within three feet of any lot line.
f. Architectural features. Detached, freestanding architectural features such as columns or pedestals that designate an entrance to a walkway or driveway and do not exceed 42 inches in height are allowed in required yards.
g. Other structures. Except as otherwise allowed in this subsection (C)(3), structures over 30 inches in height from existing grade or finished grade, whichever is lower, may not be constructed in or otherwise intrude into a required yard.
4. Setback deviation. The code official may approve a deviation to front, side, and rear setbacks pursuant to MICC 19.15.040.
D. Gross floor area.
1. Except as provided in subsection (D)(3) of this section, the gross floor area shall not exceed:
b. R-9.6: 8,000 square feet or 40 percent of the lot area, whichever is less. | No changes to gross floor area.
2. Gross floor area calculation. The gross floor area is the sum of the floor area(s) bounded by the exterior faces of each building on a residential lot, provided:
a. The gross floor area shall be 150 percent of the floor area of that portion of a room(s) with a ceiling height of 12 feet to 16 feet, measured from the floor surface to the ceiling.
b. The gross floor area shall be 200 percent of the floor area of that portion of a room(s) with a ceiling height of more than 16 feet, measured from the floor surface to the ceiling.
c. Staircases shall be counted as a single floor for the first two stories accessed by the staircase. For each additional story above two stories, the staircase shall count as a single floor area. For example, a staircase with a ten-foot by ten-foot dimension that accesses three stories shall be accounted as 200 square feet (100 square feet for the first two stories, and 100 square feet for the third story).
d. For the purposes of calculating allowable gross floor area, lots created in a subdivision through MICC 19.08.030(G), Optional standards for development, may apply the square footage from the open space tract to the lot area not to exceed the minimum square footage of the zone in which the lot is located.
3. Allowances.
a. The gross floor area for lots with an area of 7,500 square feet or less may be the lesser of 3,000 square feet or 45 percent of the lot area; or
b. If an accessory dwelling unit is proposed, the 40 percent allowed gross floor area may be increased by the lesser of five percentage points or the actual floor area of the proposed accessory dwelling unit, provided:
i. The allowed gross floor area of accessory buildings that are not partially or entirely used for an accessory dwelling unit shall not be increased through the use of this provision;
ii. The lot will contain an accessory dwelling unit associated with the application for a new or remodeled single-family home; and
iii. The total gross floor area shall not exceed 4,500 square feet or 45 percent of the lot area, whichever is less.
E. Building height limit.
1. Maximum building height. No building shall exceed 30 feet in height above the average building elevation to the highest point of the roof. | No change to existing building height.
2. Maximum building height on downhill building facade. The maximum building facade height on the downhill side of a sloping lot shall not exceed 30 feet in height. The building facade height shall be measured from the existing grade or finished grade, whichever is lower, at the furthest downhill extent of the proposed building, to the top of the exterior wall facade supporting the roof framing, rafters, trusses, etc.
3. Antennas, lightning rods, plumbing stacks, flagpoles, electrical service leads, chimneys and fireplaces, solar panels, and other similar appurtenances may extend to a maximum of five feet above the height allowed for the main structure in subsections (E)(1) and (2) of this section; provided:
a. Solar panels shall be designed to minimize their extension above the maximum allowed height, while still providing the optimum tilt angle for solar exposure.
b. Rooftop railings may not extend above the maximum allowed height for the main structure.
4. The formula for calculating average building elevation is as follows:
Formula: Average Building Elevation = (Weighted Sum of the Mid-point Elevations) ÷ (Total Length of Wall Segments)
Where: Weighted Sum of the Mid-point Elevations = The sum of: ((Mid-point Elevation of Each Individual Wall Segment) × (Length of Each Individual Wall Segment))
For example for a house with ten wall segments:
(A×a) + (B×b) + (C×c) + (D×d) + (E×e) + (F×f) + (G×g) + (H×h) + (I×i) + (J×j)
a + b + c + d + e + f + g + h + i + j
Where: A, B, C, D… = The existing or finished ground elevation, whichever is lower, at midpoint of wall segment.
And: a, b, c, d… = The length of wall segment measured on outside of wall.
F. Lot coverage—Single-family dwellings.
1. Applicability. This section shall apply to the development of single-family dwellings including, but not limited to, the remodeling of existing single-family dwellings and construction of new single-family dwellings. This section does not apply to regulated improvements.
2. Landscaping objective.
a. To ensure that landscape design reinforces the natural and wooded character of Mercer Island, complements the site, the architecture of site structures and paved areas, while maintaining the visual appearance of the neighborhood.
b. To ensure that landscape design is based on a strong, unified, coherent, and aesthetically pleasing landscape concept.
c. To ensure that landscape plantings, earth forms, and outdoor spaces are designed to provide a transition between each other and between the built and natural environment.
d. To ensure suitable natural vegetation and landforms, particularly mature trees and topography, are preserved where feasible and integrated into the overall landscape design. Large trees and tree stands should be maintained in lieu of using new plantings.
e. To ensure planting designs include a suitable combination of trees, shrubs, groundcovers, vines, and herbaceous material; include a combination of deciduous and evergreen plant material; emphasize native plant material; provide drought-tolerant species; and exclude invasive species.
3. Lot coverage—Landscaping required.
b. Hardscape.
i. A maximum of nine percent of the net lot area may consist of hardscape improvements including, but not limited to, walkways, decks, etc., and provided: | No net change to hardscape. Any added hardscape areas will be offset by an equal or greater amount of softscape.
H. Easements. Easements shall remain unobstructed. | Existing easements shall remain unobstructed.

## MICC 19.02.010
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.02 MICC Residential
Project Name: | Barnabie Point Project Conditional Use Permit | Date
City File Number | CUP24-001 | 2024-08-09
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application.The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.02 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.02 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
19.02.010 - Single-family.
A use not permitted by this section is prohibited. Please refer to MICC 19.06.010 for other prohibited uses.
A. Uses permitted in Zones R-8.4, R-9.6, R-12, and R-15.
1. Single-family dwelling. | Existing single-family residence to remain.
2. Accessory buildings incidental to the main building. | Existing religious school building to remain.
3. Private recreational areas.
4. Public schools accredited or approved by the state for compulsory school attendance, subject to design commission review and all of the following conditions:
a. All structures shall be located at least 35 feet from any abutting property and at least 45 feet from any public right-of-way.
b. Off-street parking shall be established and maintained at a minimum ratio of one parking space per classroom with high schools providing an additional one parking space per ten students.
c. A one-fourth acre or larger playfield shall be provided in one usable unit abutting or adjacent to the site.
6. Public park subject to the following conditions:
a. Access to local and/or arterial thoroughfares shall be reasonably provided.
b. Outdoor lighting shall be located to minimize glare upon abutting property and streets.
c. Major structures, ballfields and sport courts shall be located at least 20 feet from any abutting property.
13. Open space.
C. Conditional uses. The following uses are permitted when authorized by the issuance of a conditional use permit when the applicable conditions set forth in this section and in MICC 19.15.040 have been met:
2. Private schools accredited or approved by the state for compulsory school attendance, subject to conditions set out in subsection (A)(4) of this section. | Private school use of site proposed, with the addition of no new structures beside pedestrian pathways and site lighting
3. Places of worship subject to the following conditions: | Existing place of worship to remain.
a. All structures shall be located at least 35 feet from any abutting property. | No additions or new structures proposed.
b. Off-street parking shall be established and maintained at a ratio of one parking space for each five seats in the chapel, nave, sanctuary, or similar worship area. | 82 required parking spaces for the existing worship area per the previous permit drawings shall be maintained. Permitted parking is based on the required parking ratio of one parking space for each five seats in the worship area. Original drawing attached for reference.
4. Noncommercial recreational areas, subject to the conditions contained in subsection (A)(6) of this section. | Existing noncommercial recreational area to remain, permitted in 1979.

## MICC 19.06.110(A)
Mercer Island City Code Criteria Compliance Matrix
Chapter 19.06.110 MICC Criteria for approval—Conditional use permits, variances, and setback deviations.
Project Name: | Barnabie Point Project Conditional Use Permit | Date
City File Number | CUP24-001 | 2024-08-09
Directions: Please complete the code compliance matrix to identify conformity with city codes, standards, and policies. This will be required as part of the initial application.The code compliance matrix shall include specific details and examples about how the proposed development is consistent with Chapter 19.12 MICC. The applicant bears the burden of proof to ensure the application and associated materials are consistent with local laws, rules, and standards. The purpose of the code compliance matrix is to provide guidance to developers on the requirements for the development of property. This is a tool to ensure the proposed development is consistent with the requirements of Chapter 19.12 MICC, a guide and reference for developers to ensure all requirements are accounted for in application submittals, and a tool for staff to seamlessly review proposals and to enhance the quality and speed of the review process.
M.I.C.C. Code | How the proposed development meets the provisions of the M.I.C.C. | City Review/Notes
A. Conditional use permits.
1. Purpose. A use may be authorized by a conditional use permit for those uses listed in chapters 19.02 and 19.11 MICC. The intent of the conditional use permit review process is to evaluate the particular characteristics and location of certain uses relative to the development and design standards established in this title. The review shall determine if the development proposal should be permitted after weighing the public benefit and the need for the use with the potential impacts that the use may cause. | Noted.
2. Criteria for conditional use permits that are not located in Town Center. An applicant must demonstrate how the development proposal meets the following criteria:
a. The permit is consistent with the regulations applicable to the zone in which the lot is located; | The permit is consistent with the regulations applicable to the zone.
b. The proposed use is determined to be acceptable in terms of size and location of site, nature of the proposed uses, character of surrounding development, traffic capacities of adjacent streets, environmental factors, size of proposed buildings, and density; | Size and location of site: There are minimal changes proposed for the site, which has ample capacity to absorb the proposed uses. The proposed uses occur when the existing site is not being used for worship. The nature of the proposed uses is very much in keeping with existing uses. The site is characterized by its adjacency to a major throughfare, commercially-zoned property, and I-90. The enclosed traffic study addresses impact to the traffic of adjacent streets; an environmental study is addresses environmental factors. Size of proposed buildings: physical changes to the property are limited to pedestrian pathways, utilities, fencing, and landscaping.
c. The use is consistent with policies and provisions of the comprehensive plan; and | Specific policies and provisions supporting the use are as follows: 2. V. Land Use Policies, Goal 15 15.4 : As a primarily single family residential community with a high percentage of developed land, the community cannot provide for all types of land uses. … Compatible permitted uses such as education, recreation, open spaces, government social services and religious activities will be encouraged 2. V. Land Use Policies, Goal 17 17.2: Commercial uses and densities near the I-90/East Mercer Way exit and SE 36th Street are appropriate for that area. All activities in the CO zone are subject to design review and supplemental design guidelines may be adopted. 17.4: Social and recreation clubs, schools, and religious institutions are predominantly located in single family residential areas of the Island. Development regulation should reflect the desire to retain viable and healthy social, recreational, educational, and religious organizations as community assets which are essential for the mental, physical and spiritual health of Mercer Island. 4.II. Transportation Goals and Policies, Goal 1 1.2: Encourage businesses and residential areas to explore opportunities for shared parking and other parking management strategies.
d. Conditions shall be attached to the permit assuring that the use is compatible with other existing and potential uses within the same general area and that the use shall not constitute a nuisance. | The proposed uses are consistent with uses already conditionally approved for the site: synagogue building (use approved 1970); caretaker's facility and outdoor play areas (1979); multipurpose building (1979); non-commercial recreational area used between 7 am and 10 pm (1979); and associated parking.
3. Criteria for conditional use permits that also require design review and are located in Town Center. | Not applicable
4. No building permit, business license, or other permits related to the use of the land shall be issued until final approval of the conditional use permit. | Noted.
5. Change after conditional use permit granted.
a. Change of ownership. Conditional use permits granted shall continue to be valid upon change of ownership of the site. | Noted.
b. Change of use. Modifications to the use shall require an amendment to the conditional use permit and shall be subject to the review process in chapter 19.15 MICC. | This application is a modification/amendment to the current Conditional Use Permit.
c. Applicability. A conditional use permit shall be applicable only to the property for which it was granted, as defined by the legal description of the property boundaries submitted with the conditional use permit application ("permitted property"). The use(s) permitted under a conditional use permit shall not extend beyond the permitted property to adjoining property or property added to the permitted property unless the conditionally approved use(s) are already allowed on the adjoining or added property or a new conditional use permit is granted for the adjoining or added property. | The adjoining B-zoned property permits private schools, offices, and recreational areas/theaters/cateferias (multipurpose room) outright.
B. Variances. | No variances are requested.