Convert part of the lower level of single family house to ADU.

Minor modifications to convert existing plumbing and electrical in the art studio to be for kitchen plumbing and electrical use.

Need to ensure fire protection by following R302.3:

One accessory dwelling unit constructed within an existing dwelling unit need not be considered a separated dwelling unit in a two-family dwelling where all required smoke alarms, in the accessory dwelling unit and the primary dwelling unit, are interconnected in such a manner that the actuation of one alarm will activate all alarms in both the primary dwelling unit and the accessory dwelling unit.

Our proposal for fire protection is, actuation of one alarm will activate all alarms in both the primary dwelling unit and the accessory dwelling unit.