## Sheet1
Code Compliance Matrix: Aqua Dock
Address: 6855 W. Mercer Way, Mercer Island, WA 98040
APN: 252404-9080
Below is a summary of proposed repairs associated with pre existing dock at the location noted above: ◦New Dock ◦Remove (20) existing piles ◦Drive (14) new steel piles ◦Drive (2) new mooring piles ◦Relocate existing boat lift
CODE REFERENCE: MICC 2025
Mercer Island Municipal Code Section | Requirement | Applicant Compliance Comment | City Response
MICC 19.13.050.F.1.i.a | F. Moorage facilities. All permits for new and expanded moorage facility, other than marinas and public access piers or boardwalks, shall meet the following standards unless otherwise exempted. Moorage facilities have the option of meeting either the development standards prescribed in subsection (F)(1) or (F)(2) of this section, or the "alternative development standards" in subsection (F)(3) of this section. 1. Development standards for new and expanded moorage facilities. A proposed mooragefacility shall be presumed to not create a net loss of ecological functions pursuant to subsection (B)(2) of this section if: i. The surface coverage area of the moorage facility is: a. Four hundred eighty square feet or less for a single property owner; | COMPLIANT: Proposed moorage facility does not exceed 480sf (426sf proposed). See SHEET 5.0
MICC 19.13.050.F.1.ii. | ii. Piers, docks, and platform lifts must be fully grated with materials that allow a minimum of 40 percent light transmittance; | COMPLIANT: Grated decking proposed is at least 40% light transmittance (43% proposed). See SHEET 5.0
MICC 19.13.050. F.1.iii | iii.Vegetation. The code official approves a vegetation plan that conforms to the following: Vegetation must be planted as provided in Figure C and as follows: Within the 25-foot shoreline setback, a 20-foot vegetation area shall be established, measured landward from the OHWM. Twenty-five percent of the area shall contain vegetation coverage. The five feet nearest the OHWM shall contain at least 25 percent native vegetation coverage. A shoreline vegetation plan shall be submitted to the city for approval. The vegetation coverage shall consist of a variety of ground cover shrubs and trees, excluding nonnative grasses. No plants on the current King County noxious weed lists shall be planted within the shorelands. | COMPLIANT: Per 19.13.050.F.3., Alternative development standards. Proposed mitigation is compliant with Federal (USACE NWP/LOP: NWS-2024-120) and State (WDFW HPA: 0046712) permits.
MICC 19.13.050. F.1.iv | iv. Only docks, ramps, and boatlifts may be within the first 30 feet from the OHWM. No skirting is allowed on any structure; | COMPLIANT: Only Dock is proposed in the first 30'. See sheet 5.0
MICC 19.13.050. F.1.v | v. The height above the OHWM for docks shall be a minimum of one and one-half feet and a maximum of five feet; | COMPLIANT: Height above OWHM proposed is at least 16", see SHEET 6.0
MICC 19.13.050. F.1.vi | vi. The first in-water (nearest the OHWM) set of pilings shall be steel, ten inches in diameter or less, and at least 18 feet from the OHWM. Piling sets beyond the first shall also be spaced at least 18 feet apart and shall not be greater than 12 inches in diameter. Piles shall not be treated with pentachlorophenol, creosote, CCA or comparably toxic compounds. If ammoniacal copper zinc arsenate (ACZA) pilings are proposed, the applicant shall meet all of the best management practices, including a post-treatment procedure, as outlined in the amended Best Management Practices of the Western Wood Preservers. All piling sizes are in nominal diameter; | COMPLIANT: The first set of pilings proposed are at least 18" from the OHWM. See SHEET 5.0
MICC 19.13.050. F.1.vii | vii. Any paint, stain or preservative applied to components of the dock must be leach resistant, completely dried or cured prior to installation. Materials shall not be treated with pentachlorophenol, creosote, CCA or comparably toxic compounds; | COMPLIANT: No paint or stain is proposed. Treatments used do not contain pentachlorophenol, creosote, CCA or comparably toxic compounds.
MICC 19.13.050. F.1.viii | viii. No more than two mooring piles shall be installed per structure. Joint-use structures may have up to four mooring piles. The limits include existing mooring piles. Moorage piling shall not be installed within 30 feet of the OHWM. These piles shall be as far offshore as possible; | COMPLIANT: Only 2 mooring piles are proposed. See SHEET 5.0
MICC 19.13.050. F.1.ix | ix. The applicant shall abide by the work windows for listed species established by the U.S. Army Corps of Engineers and Washington Fish and Wildlife; and | COMPLIANT: All work proposed will be during the relevant work window.
MICC 19.13.050. F.1.x | x. Disturbance of bank vegetation shall be limited to the minimum amount necessary to accomplish the project. Disturbed bank vegetation shall be replaced with native, locally adapted herbaceous and/or woody vegetation. Herbaceous plantings shall occur within 48 hours of the completion of construction. Woody vegetation components shall be planted in the fall or early winter, whichever occurs first. The applicant shall take appropriate measures to ensure revegetation success. | COMPLIANT: Bank vegetation will not be disturbed. Mitigation plantings are proposed. See SHEET 8.0-9.0
MIMC 19.13.050.F.3 | 3.Alternative development standards. The code official shall approve moorage facilities not in compliance with the development standards in subsection (F)(1) or (F)(2) of this section subject to both U.S. Army Corps of Engineers and Washington Department of Fish and Wildlife approval to an alternate project design. The following requirements and all other applicable provisions in this chapter shall be met: i. The dock must be no larger than authorized through state and federal approval; ii. The maximum width must comply with the width of moorage facilities standards specified in standards specified in subsection D of this section (Table D); iii. The minimum water depth must be no shallower than authorized through state and federal approval; iv. The applicant must demonstrate to the code official's satisfaction that the proposed project will not create a net loss in ecological function of the shorelands; and v. The applicant must provide the city with documentation of approval of the moorage facilities by both the U.S. Army Corps of Engineers and the Washington Department of Fish and Wildlife. | COMPLIANT: The dock is consistent with both Department of Fish and Wildlife and Army Corps of Engineers standards. Other applicable provisions are met including : i. The dock is no larger than authorized through sate and federal standards. ii. The maximum width is compliant with Table D. iii. The minimum water depth is compliant iv. No net loss of ecologic function is supported by updated NNL v. Approved WDFW and USACE documents support compliance
Table D — Requirements for Moorage Facilities and Development Located Waterward from the OHWM
Setbacks for Docks, Covered Moorages, and Floating Platforms A* | 10 feet from the lateral line (except where moorage facility is built pursuant to the agreement between the owners of adjoining lots on the shoreline as shown in Figure B below). | COMPLIANT: Setbacks are observed at 10' from each lateral property line. See SHEET 3.0--4.0
B | Where a property shares a common boundary with the urban park environment, the setback shall be 50 feet from the lateral line or 50% of the water frontage of the property, whichever is less. | COMPLIANT: This property is not located along a common boundary with the urban park environment.
Setbacks for Boat Ramps and Other Facilities for Launching C Boats by Auto or Hand, Including Parking and Maneuvering Space | 25 feet from any adjacent private property line. | COMPLIANT: No boatlifts or launches are proposed.
Length or Maximum Distance Waterward from the OHWM for D Docks, Covered Moorage, Boatlifts and Floating Platforms | Maximum 100 feet, but in cases where water depth is less than 11.85 feet below OHWM, length may extend up to 150 feet or to the point where water depth is 11.85 feet at OHWM, whichever is less. | COMPLIANT: Proposed length does not exceed 100' (90' max length proposed). See Sheet 5.0-6.0
Width of Docks within 30 Feet Waterward from the OHWM E | Maximum 4 feet. Width may increase to 5 feet if one of the following is met: 1) Water depth is 4.85 feet or more, as measured from the OHWM; or 2) A moorage facility is required to comply with Americans with Disabilities Act (ADA) requirements; or 3) A resident of the property has a documented permanent state disability as defined in WAC 308-96B-010(5); or 4) The proposed project includes mitigation option A, B or C listed in Table E; and for replacement actions, there is either a net reduction in overwater coverage within 30 feet waterward from the OHWM, or a site-specific report is prepared by a qualified professional demonstrating no net loss of ecological function of the shorelands. Moorage facility width shall not include pilings, boat ramps and boatlifts. | COMPLAINT: The proposed width does not exceed 4' (3'11" proposed). See SHEET 5.0.
Width of Moorage Facilities More Than 30 Feet Waterward E from the OHWM | Maximum 6 feet wide. Moorage facility width shall not include pilings, boat ramps and boatlifts. | COMPLIANT: Width change to 5' 11" occurs at or beyond 30' FROM OHWM. See SHEET 5.0
Height Limits for Walls, Handrails and Storage Containers F Located on Piers | 3.5 feet above the surface of a dock or pier. 4 feet for ramps and gangwys designed to span the area 0 feet to 30 feet from the OHWM. | COMPLIANT: No hadrails or storage contains are proposed on pier