## Sheet1
Code Compliance Matrix: Aqua Dock
Address: 6855 W. Mercer Way, Mercer Island, WA 98040
APN: 252404-9080
Below is a summary of proposed repairs associated with pre existing dock at the location noted above: ◦New Dock ◦Remove (20) existing piles ◦Drive (14) new steel piles ◦Drive (2) new mooring piles ◦Relocate existing boat lift
CODE REFERENCE: MMC 2025 | WAC EXEMPTION(S): 173-27-040 (2) (b) Normal maintenance or repair
Mercer Island Municipal Code Section | Requirement | Applicant Compliance Comment | City Response
MMC 19.13.050.F.1.i.a | F.Moorage facilities. All permits for new and expanded moorage facility, other than marinas and public access piers or boardwalks, shall meet the following standards unless otherwise exempted. Moorage facilities have the option of meeting either the development standards prescribed in subsection (F)(1) or (F)(2) of this section, or the "alternative development standards" in subsection (F)(3) of this section. 1. Development standards for new and expanded moorage facilities. A proposed mooragefacility shall be presumed to not create a net loss of ecological functions pursuant to subsection (B)(2) of this section if: i. The surface coverage area of the moorage facility is: a. Four hundred eighty square feet or less for a single property owner; | COMPLIANT: Proposed moorage facility does not exceed 480sf (426sf proposed). See SHEET 5.0
MMC 19.13.050.F.1.ii. | ii. Piers, docks, and platform lifts must be fully grated with materials that allow a minimum of 40 percent light transmittance; | COMPLIANT: Grated decking proposed is at least 40% light transmittance (43% proposed). See SHEET 5.0
MMC 19.13.050. F.1.iii | iii.Vegetation. The code official approves a vegetation plan that conforms to the following: Vegetation must be planted as provided in Figure C and as follows: Within the 25-foot shoreline setback, a 20-foot vegetation area shall be established, measured landward from the OHWM. Twenty-five percent of the area shall contain vegetation coverage. The five feet nearest the OHWM shall contain at least 25 percent native vegetation coverage. A shoreline vegetation plan shall be submitted to the city for approval. The vegetation coverage shall consist of a variety of ground cover shrubs and trees, excluding nonnative grasses. No plants on the current King County noxious weed lists shall be planted within the shorelands. | COMPLIANT: Per 19.13.050.F.3., Alternative development standards. Proposed mitigation is compliant with Federal (USACE NWP/LOP: NWS-2024-120) and State (WDFW HPA: 0046712) permits.
MMC 19.13.050. F.1.iv | iv. Only docks, ramps, and boatlifts may be within the first 30 feet from the OHWM. No skirting is allowed on any structure; | COMPLIANT: Only Dock is proposed in the first 30'. See sheet 5.0
MMC 19.13.050. F.1.v | v. The height above the OHWM for docks shall be a minimum of one and one-half feet and a maximum of five feet; | COMPLIANT: Height above OWHM proposed is at least 16", see SHEET 6.0
MMC 19.13.050. F.1.vi | vi. The first in-water (nearest the OHWM) set of pilings shall be steel, ten inches in diameter or less, and at least 18 feet from the OHWM. Piling sets beyond the first shall also be spaced at least 18 feet apart and shall not be greater than 12 inches in diameter. Piles shall not be treated with pentachlorophenol, creosote, CCA or comparably toxic compounds. If ammoniacal copper zinc arsenate (ACZA) pilings are proposed, the applicant shall meet all of the best management practices, including a post-treatment procedure, as outlined in the amended Best Management Practices of the Western Wood Preservers. All piling sizes are in nominal diameter; | COMPLIANT: The first set of pilings proposed are at least 18" from the OHWM. See SHEET 5.0
MMC 19.13.050. F.1.vii | vii. Any paint, stain or preservative applied to components of the dock must be leach resistant, completely dried or cured prior to installation. Materials shall not be treated with pentachlorophenol, creosote, CCA or comparably toxic compounds; | COMPLIANT: No paint or stain is proposed. Treatments used do not contain pentachlorophenol, creosote, CCA or comparably toxic compounds.
MMC 19.13.050. F.1.viii | viii. No more than two mooring piles shall be installed per structure. Joint-use structures may have up to four mooring piles. The limits include existing mooring piles. Moorage piling shall not be installed within 30 feet of the OHWM. These piles shall be as far offshore as possible; | COMPLIANT: Only 2 mooring piles are proposed. See SHEET 5.0
MMC 19.13.050. F.1.ix | ix. The applicant shall abide by the work windows for listed species established by the U.S. Army Corps of Engineers and Washington Fish and Wildlife; and | COMPLIANT: All work proposed will be during the relevant work window.
MMC 19.13.050. F.1.x | x. Disturbance of bank vegetation shall be limited to the minimum amount necessary to accomplish the project. Disturbed bank vegetation shall be replaced with native, locally adapted herbaceous and/or woody vegetation. Herbaceous plantings shall occur within 48 hours of the completion of construction. Woody vegetation components shall be planted in the fall or early winter, whichever occurs first. The applicant shall take appropriate measures to ensure revegetation success. | COMPLIANT: Bank vegetation will not be disturbed. Mitigation plantings are proposed. See SHEET 8.0-9.0