## Sheet1
Code Compliance Matrix : Cella
6000 SE 20TH ST Mercer Island, WA 98040
APN: 243970-0050
Below is a summary of proposed repairs associated with pre existing bulkhead at the location noted above: ◦ Bulkhead - reapair (180'-6")
CODE REFERENCE: MMC 2025 | WAC EXEMPTION(S): SEPA 197-11-800 (3) Repair, remodeling, and maintenance activities SSDP 173-27-040 (2) (b/c) Normal maintenance or repair of existing structures or developments/Construction of normal protective bulkhead common to SFR
Mercer Island Municipal Code Section | Requirement | Applicant Compliance Comment | City Response
MMC 19.13.050.B.1 | B. Bulkheads and shoreline stabilization structures. 1. An existing shoreline stabilization structure may be replaced with a similar structure if there is a demonstrated need to protect principal uses or structures from erosion caused by currents or waves, and the following conditions shall apply: | COMPLIANT: Replacing existing shoreline stabilization is necessary to prevent erosion from wave action and protect the principal use on site. Please refer to Geotech Report provided for additional information.
MMC 19.13.050.B.1.i | i. The replacement structure should be designed, located, sized, and constructed to assure no net loss of ecological functions. | COMPLIANT: The proposed bulkhead is designed and located in the same location as existing stabilization. Actions will not shift bulkhead waterward or landward of the OHWM. BMPs, turbidity/sediment controls, and mitigation cumulatively ensure net loss of ecologic function (see SHEET 3.0-4.0).
MMC 19.13.050.B.1.ii | ii. Replacement walls or bulkheads shall not encroach waterward of the ordinary high water mark or existing structure unless the primary structure was occupied prior to January 1, 1992, and there are overriding safety or environmental concerns. In such cases, the replacement structure shall abut the existing shoreline stabilization structure. Soft shoreline stabilization measures that provide restoration of shoreline ecological functions may be permitted waterward of the ordinary high water mark. | COMPLIANT: The proposed repair uses the existing footprint and will not move the bulkhead from its current position landward or waterward of the OHWM (see SHEET 3.0-4.0) .
MMC 19.13.050.B.1.iii | iii. For purposes of this section standards on shoreline stabilization measures, "replacement" means the construction of a new structure to perform a shoreline stabilization function of an existing structure which can no longer adequately serve its purpose. Additions to or increases in size of existing shoreline stabilization measures shall be considered new structures | COMPLIANT: Proposed actions are necessary as the existing bulkhead can no longer adequately serve its purpose. No additions or increases in size of exisitng stabilization is proposed. Please see Geotech Report for additional information.
MMC 19.13.050.B.1.iv | iv. Construction and maintenance of normal protective bulkhead common to single-family dwellings requires only a shoreline exemption permit, unless a report is required by the code official to ensure compliance with the above conditions; however, if the construction of the bulkhead is undertaken wholly or in part on lands covered by water, such construction shall comply with SEPA mitigation. | COMPLIANT: The bulkhead will use the existing key way and in water activity is limited to a small amount of gravel removal (see SHEET 3.0-4.0). This activity is minor in scope, does not involve placement of new material waterward of the OHWM, and is undertaken to restore pre-existing shoreline conditions rather than expand shoreline armoring. Because the in-water activity is minor, restorative, and already mitigated (see SHEET 7.0) the project remains categorically exempt.
MMC 19.13.050.B.6 | 6. Bulkheads shall be located generally parallel to the natural shoreline. No filling may be allowed waterward of the ordinary high water mark, unless there has been severe and unusual erosion within two years immediately preceding the application for the bulkhead. In this event the city may allow the placement of the bulkhead to recover the dry land area lost by erosion. | COMPLIANT: The proposed repair uses the existing key way and will not move the bulkhead from its current position along the shoreline/OHWM. No fill is proposed waterward of the OHWM.
MMC 19.13.050.B.7 | 7. Geotechnical reports pursuant to this section that address the need to prevent potential damage to a primary structure shall address the necessity for shoreline stabilization by estimating time frames and rates of erosion and report on the urgency associated with the specific situation. As a general matter, hard armoring solutions should not be authorized except when a report confirms that there is a significant possibility that such a structure will be damaged within three years as a result of shoreline erosion in the absence of such hard armoring measures, or where waiting until the need is that immediate would foreclose the opportunity to use measures that avoid impacts on ecological functions. Thus, where the geotechnical report confirms a need to prevent potential damage to a primary structure, but the need is not as immediate as the three years, that report may still be used to justify more immediate authorization to protect against erosion using soft measures. | COMPLIANT: Please refer to Geotech Report provided with original submittals